## APB
Spartan APB Alarm Panels
Part Number | Phase | Voltage | Amp Range | List Price | Net Price | .64
SPAPB1B | 1 | 120 | 15 Fixed | 368.61 | 235.9104
SPAPB2B | 1 | 240 | 15 Fixed | 404.99 | 259.1936

## Series SP80
Series 80 Spartan Sump Pump Panels
SP80 Part Number Matrix - Example SP8034P2BW-4-DF
1 - Single Phase |  |  |  | Options:
3 - Three Phase |  |  |  | DF | Dead Front
| 1 - 120 VAC |  |  | BI | BACnet MS/TP
2 - 208-230 VAC
4 - 480 VAC
P1 - Simplex
P2 -Duplex
Select for Motor FLA Per Pump
|  |  | BW-1.6 * | 1 -1.6 Amp
|  |  | BW-2.5 * | 1.6 - 2.5 Amp
|  |  | BW-4 * | 2.5 - 4 Amp
|  |  | BW-6.3 * | 4 -6.3 Amp
|  |  | BW-10 * | 6.3 - 10 Amp
|  |  | BW-16 * | 11-16 Amp
|  |  | BW-20 * | 16 - 20 Amp
|  |  | BW-25 * | 20 - 25 Amp
Select for Motor HP Per Pump
To be used when motor FLA is not avilable
|  |  | B | 15 Amp Fixed
|  |  | BS-5 | 1.25 - 5 Amp
|  |  | BS-12 | 3 - 12 Amp
|  |  | BS-32 | 8 - 32 Amp
Series 80 Simplex Sump Pump Panel Pricing
Part Number | Phase | Voltage | Amp Range | List Price | Net Price | .64
SP8011P1B | 1 | 120 | 15 Fixed | 1264.0625 | 809
SP8012P1B | 1 | 240 | 15 Fixed | 1346.875 | 862
SP8032P1BW-1.6 | 3 | 208-230 | 1 - 1.6 | 1971.875 | 1262
SP8032P1BW-2.5 | 3 | 208-230 | 1.6 - 2.5 | 1971.875 | 1262
SP8032P1BW-4 | 3 | 208-230 | 2.5 - 4 | 1971.875 | 1262
SP8032P1BW-6.3 | 3 | 208-230 | 4 - 6.3 | 1971.875 | 1262
SP8032P1BW-10 | 3 | 208-230 | 6.3 - 10 | 1971.875 | 1262
SP8032P1BW-16 | 3 | 208-230 | 11 - 16 | 1990.625 | 1274
SP8032P1BW-20 | 3 | 208-230 | 16 - 20 | 2028.125 | 1298
SP8032P1BW-25 | 3 | 208-230 | 20 - 25 | 2054.6875 | 1315
SP8032P1BS-5 | 3 | 208-230 | 1.25 - 5 | 2293.75 | 1468
SP8032P1BS-12 | 3 | 208-230 | 3 - 12 | 2293.75 | 1468
SP8032P1BS-32 | 3 | 208-230 | 8 - 32 | 2421.875 | 1550
SP8034P1BW-1.6 | 3 | 480 | 1 - 1.6 | 1971.875 | 1262
SP8034P1BW-2.5 | 3 | 480 | 1.6 - 2.5 | 1971.875 | 1262
SP8034P1BW-4 | 3 | 480 | 2.5 - 4 | 1971.875 | 1262
SP8034P1BW-6.3 | 3 | 480 | 4 - 6.3 | 1971.875 | 1262
SP8034P1BW-10 | 3 | 480 | 6.3 - 10 | 1971.875 | 1262
SP8034P1BW-16 | 3 | 480 | 11 - 16 | 1990.625 | 1274
SP8034P1BW-20 | 3 | 480 | 16 - 20 | 2028.125 | 1298
SP8034P1BW-25 | 3 | 480 | 20 - 25 | 2054.6875 | 1315
SP8034P1BS-5 | 3 | 480 | 1.25 - 5 | 2293.75 | 1468
SP8034P1BS-12 | 3 | 480 | 3 - 12 | 2293.75 | 1468
SP8034P1BS-32 | 3 | 480 | 8 - 32 | 2421.875 | 1550
Part Number | Phase | Voltage | Amp Range Per Pump | List Price | Net Price | .64
Series 80 Duplex Sump Pump Panel Pricing
SP8011P2B | 1 | 120 | 15 Fixed | 1520.3478 | 973.0226
SP8012P2B | 1 | 240 | 15 Fixed | 1615.6684 | 1034.0278
SP8032P2BW-1.6 | 3 | 208-230 | 1 - 1.6 | 2329.2514 | 1490.7209
SP8032P2BW-2.5 | 3 | 208-230 | 1.6 - 2.5 | 2329.2514 | 1490.7209
SP8032P2BW-4 | 3 | 208-230 | 2.5 - 4 | 2329.2514 | 1490.7209
SP8032P2BW-6.3 | 3 | 208-230 | 4 - 6.3 | 2382.4897 | 1524.7934
SP8032P2BW-10 | 3 | 208-230 | 6.3 - 10 | 2382.4897 | 1524.7934
SP8032P2BW-16 | 3 | 208-230 | 11 - 16 | 2408.3161 | 1541.3223
SP8032P2BW-20 | 3 | 208-230 | 16 - 20 | 2469.0083 | 1580.1653
SP8032P2BW-25 | 3 | 208-230 | 20 - 25 | 2518.0785 | 1611.5702
SP8032P2BS-5 | 3 | 208-230 | 1.25 - 5 | 2883.5227 | 1845.4545
SP8032P2BS-12 | 3 | 208-230 | 3 - 12 | 2883.5227 | 1845.4545
SP8032P2BS-32 | 3 | 208-230 | 8 - 32 | 3118.5434 | 1995.8678
SP8034P2BW-1.6 | 3 | 480 | 1 - 1.6 | 2329.2514 | 1490.7209
SP8034P2BW-2.5 | 3 | 480 | 1.6 - 2.5 | 2329.2514 | 1490.7209
SP8034P2BW-4 | 3 | 480 | 2.5 - 4 | 2329.2514 | 1490.7209
SP8034P2BW-6.3 | 3 | 480 | 4 - 6.3 | 2382.4897 | 1524.7934
SP8034P2BW-10 | 3 | 480 | 6.3 - 10 | 2382.4897 | 1524.7934
SP8034P2BW-16 | 3 | 480 | 11 - 16 | 2408.3161 | 1541.3223
SP8034P2BW-20 | 3 | 480 | 16 - 20 | 2469.0083 | 1580.1653
SP8034P2BW-25 | 3 | 480 | 20 - 25 | 2518.0785 | 1611.5702
SP8034P2BS-5 | 3 | 480 | 1.25 - 5 | 2883.5227 | 1845.4545
SP8034P2BS-12 | 3 | 480 | 3 - 12 | 2883.5227 | 1845.4545
SP8034P2BS-32 | 3 | 480 | 8 - 32 | 3118.5434 | 1995.8678
Series 80 Sump Pump Panel Option Adders
Part Number | Description |  |  | List Price | Net Price | .64
SP080DF | DF - Dead Front Door |  |  | 211 | 135.04
SP080BI | BI - BACnet MS/TP Interface |  |  | 746 | 477.44

## Series SP81
Series 81 Spartan Intrinsically Safe Simplex/Duplex Sump Pump Panels
SP81 Part Number Matrix - Example SP8134P2BW-4-DF
1 - Single Phase |  |  |  | Options:
3 - Three Phase |  |  |  | DF | Dead Front
| 1 - 120 VAC |  |  | BI | BACnet MS/TP
2 - 208-230 VAC
4 - 480 VAC
P1 - Simplex
P2 -Duplex
Select for Motor HP Per Pump
|  |  | B | 15 Amp Fixed
|  |  | BS-5 | 1.25 - 5 Amp
|  |  | BS-12 | 3 - 12 Amp
|  |  | BS-32 | 8 - 32 Amp
Series 81 Spartan Intrinsically Safe Duplex Sump Pump Panel Pricing
Part Number | Phase | Voltage | Amp Range Per Pump | List Price | Net Price | .64
SP8111P1B | 1 | 120 | 15 Fixed | 2033 | 1301.12
SP8112P1B | 1 | 240 | 15 Fixed | 2166 | 1386.24
SP8132P1BS-5 | 3 | 208-230 | 1.25 - 5 | 3284.4291 | 2102.0346
SP8132P1BS-12 | 3 | 208-230 | 3 - 12 | 3284.4291 | 2102.0346
SP8132P1BS-32 | 3 | 208-230 | 8 - 32 | 3397.9239 | 2174.6713
SP8134P1BS-5 | 3 | 480 | 1.25 - 5 | 3284.4291 | 2102.0346
SP8134P1BS-12 | 3 | 480 | 5 - 12 | 3284.4291 | 2102.0346
SP8134P1BS-32 | 3 | 480 | 8 - 32 | 3397.9239 | 2174.6713
SP8111P2B | 1 | 120 | 15 Fixed | 2334 | 1493.76
SP8112P2B | 1 | 240 | 15 Fixed | 2564 | 1640.96
SP8132P2BS-5 | 3 | 208-230 | 1.25 - 5 | 4578.5467 | 2930.2699
SP8132P2BS-12 | 3 | 208-230 | 3 - 12 | 4578.5467 | 2930.2699
SP8132P2BS-32 | 3 | 208-230 | 8 - 32 | 4830.4498 | 3091.4879
SP8134P2BS-5 | 3 | 480 | 1.25 - 5 | 4578.5467 | 2930.2699
SP8134P2BS-12 | 3 | 480 | 3 - 12 | 4578.5467 | 2930.2699
SP8134P2BS-32 | 3 | 480 | 8 - 32 | 4830.4498 | 3091.4879
Series 81 Panel Option Adders
Part Number | Description |  |  | List Price | Net Price | .64
SP081DF | DF - Dead Front Door |  |  | 238 | 152.32
SP081BI | BI - BACnet MS/TP Interface |  |  | 746 | 477.44

## Series SP82
Series 82 Spartan Plus Duplex Sump Pump Panels
SP82 - Example SP8234P2BS-12-DF
1 - Single Phase |  |  |  | Options:
3 - Three Phase |  |  |  | DF | Dead Front
| 1 - 120 VAC |  |  | BI | BACnet MS/TP
2 - 208-230 VAC
4 - 480 VAC
P2 -Duplex
M-Moister Sensor
S-Seal Fail Relay
Select for Motor HP Per Pump
|  |  |  | B | 15 Amp Fixed
|  |  |  | BS-5 | 1.25 - 5 Amp
|  |  |  | BS-12 | 3 - 12 Amp
|  |  |  | BS-32 | 8 - 32 Amp
Series 82 Spartan Plus Duplex Sump Pump Panel Pricing
Part Number | Phase | Voltage | Amp Range Per Pump | List Price | Net Price | .64
SP8211P2MB | 1 | 120 | 15 Fixed | 2051 | 1312.64
SP8212P2MB | 1 | 240 | 15 Fixed | 2357 | 1508.48
SP8232P2MBS-5 | 3 | 208-230 | 1.25 - 5 | 3093.4066 | 1979.7802
SP8232P2MBS-12 | 3 | 208-230 | 3 - 12 | 3235.6322 | 2070.8046
SP8232P2MBS-32 | 3 | 208-230 | 8 - 32 | 3586.747 | 2295.5181
SP8234P2MBS-5 | 3 | 480 | 1.25 - 5 | 3093.4066 | 1979.7802
SP8234P2MBS-12 | 3 | 480 | 3 - 12 | 3235.6322 | 2070.8046
SP8234P2MBS-32 | 3 | 480 | 8 - 32 | 3586.747 | 2295.5181
SP8211P2SB | 1 | 120 | 15 Fixed | 2216 | 1418.24
SP8212P2SB | 1 | 240 | 15 Fixed | 2522 | 1614.08
SP8232P2SBS-5 | 3 | 208-230 | 1.25 - 5 | 3072.1649 | 1966.1856
SP8232P2SBS-12 | 3 | 208-230 | 3 - 12 | 3204.3011 | 2050.7527
SP8232P2SBS-32 | 3 | 208-230 | 8 - 32 | 3611.4943 | 2311.3563
SP8234P2SBS-5 | 3 | 480 | 1.25 - 5 | 3072.1649 | 1966.1856
SP8234P2SBS-12 | 3 | 480 | 3 - 12 | 3204.3011 | 2050.7527
SP8234P2SBS-32 | 3 | 480 | 8 - 32 | 3611.4943 | 2311.3563
Series 81 Panel Option Adders
Part Number | Description |  |  | List Price | Net Price | .64
SP082DF | DF - Dead Front Door |  |  | 238 | 152.32
SP082BI | BI - BACnet MS/TP Interface |  |  | 746 | 477.44

## Series ET83
Series 83 CU-362 Duplex Sump Pump Panels
ET83 Part Number Matrix - Example ET8334P2FMBS-DF-SS-ISF
3 - Three Phase
2 - 208-230 VAC
4 - 480 VAC
P2 -Duplex
F - Floats
A - Analog
M - Moister Sensor
S - Seal Fail Relay
W - Water/Oil Sensor
Select for Motor HP Per Pump
BS-5 - 1.25-5 Amp
BS-12 - 3-12 Amp
BS-32 - 8-32 Amp
Options
DF | Dead Front
SS | Stainless Steel Enclosure
ISF | Intrinsically Safe Floats
ISA | Intrinsically Safe Analog
BI | BACnet MS/TP Interface
GRM | Grundfos GRM
Series 83 CU-362 Duplex Sump Pump Panel Pricing
Part Number | Phase | Voltage | Amp Range Per Pump | List Price | Net Price | .64
ET8332P2FMBS-5 | 3 | 208/230 | 1.25-5 | 6682 | 4276.48
ET8332P2FMBS-12 | 3 | 208/230 | 5 - 12 | 6682 | 4276.48
ET8332P2FMBS-32 | 3 | 208/230 | 8 - 32 | 6898 | 4414.72
ET8332P2FSBS-5 | 3 | 208/230 | 1.25 - 5 | 6845 | 4380.8
ET8332P2FSBS-12 | 3 | 208/230 | 3 - 12 | 6845 | 4380.8
ET8332P2FSBS-32 | 3 | 208/230 | 8 - 32 | 7062 | 4519.68
ET8332P2FWBS-5 | 3 | 208/230 | 1.25 - 5 | 9605 | 6147.2
ET8332P2FWBS-12 | 3 | 208/230 | 5 - 12 | 9605 | 6147.2
ET8332P2FWBS-32 | 3 | 208/230 | 8 - 32 | 9820 | 6284.8
ET8332P2AMBS-5 | 3 | 208/230 | 1.25 - 5 | 6682 | 4276.48
ET8332P2AMBS-12 | 3 | 208/230 | 3 - 12 | 6682 | 4276.48
ET8332P2AMBS-32 | 3 | 208/230 | 8 - 32 | 6898 | 4414.72
ET8332P2ASBS-5 | 3 | 208/230 | 1.25 - 5 | 6845 | 4380.8
ET8332P2ASBS-12 | 3 | 208/230 | 3 - 12 | 6845 | 4380.8
ET8332P2ASBS-32 | 3 | 208/230 | 8 - 32 | 7062 | 4519.68
ET8332P2AWBS-5 | 3 | 208/230 | 1.25 - 5 | 9605 | 6147.2
ET8332P2AWBS-12 | 3 | 208/230 | 3 - 12 | 9605 | 6147.2
ET8332P2AWBS-32 | 3 | 208/230 | 8 - 32 | 9820 | 6284.8
ET8334P2FMBS-5 | 3 | 480 | 1.25 - 5 | 6682 | 4276.48
ET8334P2FMBS-12 | 3 | 480 | 3 - 12 | 6682 | 4276.48
ET8334P2FMBS-32 | 3 | 480 | 8 - 32 | 6898 | 4414.72
ET8334P2FSBS-5 | 3 | 480 | 1.25 - 5 | 6845 | 4380.8
ET8334P2FSBS-12 | 3 | 480 | 3 - 12 | 6845 | 4380.8
ET8334P2FSBS-32 | 3 | 480 | 8 - 32 | 7062 | 4519.68
ET8334P2FWBS-5 | 3 | 480 | 1.25 - 5 | 9605 | 6147.2
ET8334P2FWBS-12 | 3 | 480 | 3 - 12 | 9605 | 6147.2
ET8334P2FWBS-32 | 3 | 480 | 8 - 32 | 9820 | 6284.8
ET8334P2AMBS-5 | 3 | 480 | 1.25 - 5 | 6682 | 4276.48
ET8334P2AMBS-12 | 3 | 480 | 3 - 12 | 6682 | 4276.48
ET8334P2AMBS-32 | 3 | 480 | 8 - 32 | 6898 | 4414.72
ET8334P2ASBS-5 | 3 | 480 | 1.25 - 5 | 6845 | 4380.8
ET8334P2ASBS-12 | 3 | 480 | 3 - 12 | 6845 | 4380.8
ET8334P2ASBS-32 | 3 | 480 | 8 - 32 | 7062 | 4519.68
ET8334P2AWBS-5 | 3 | 480 | 1.25 - 5 | 9605 | 6147.2
ET8334P2AWBS-12 | 3 | 480 | 3 - 12 | 9605 | 6147.2
ET8334P2AWBS-32 | 3 | 480 | 8 - 32 | 9820 | 6284.8
Panel Option Adders
Part Number | Description |  |  | List Price | Net Price | .64
ET083DF | DF - Dead Front Door |  |  | 320 | 204.8
ET083SS | SS - Stainless Steel Enclosure |  |  | 1843 | 1179.52
ET083ISF | ISF - Intrinsically Safe Sensors |  |  | 1842 | 1178.88
ET083ISA | ISA - Intrinsically Safe Sensors |  |  | 1918 | 1227.52
ET083BI | BI - BACnet MS/TP Interface |  |  | 2104 | 1346.56
ET083GRM | GRM - Wireless Monitoring |  |  | 4439 | 2840.96

## Series ET84
Series 84 Elite Duplex Sump Pump Panels
ET84 Part Number Matrix - Example ET8434P2MBS-DF-BI
1 - Single Phase |  |  |  | Options:
3 - Three Phase |  |  |  | DF | Dead Front
| 1 - 120 VAC |  |  | SS | Stainless Steel Enclosure
| 2 - 208-230 VAC |  |  | BI | BACnet MS/TP
4 - 480 VAC
P2 -Duplex
M-Moister Sensor
S-Seal Fail Relay
Select for Motor HP Per Pump
|  |  |  | B | 15 Amp Fixed
|  |  |  | BS-5 | 1.25 - 5 Amp
|  |  |  | BS-12 | 3 - 12 Amp
|  |  |  | BS-32 | 8 - 32 Amp
Series 84 Elite Duplex Sump Pump Panel Pricing
Part Number | Phase | Voltage | Amp Range Per Pump | List Price | Net Price | .64
ET8411P2MB | 1 | 120 | 15 Fixed | 3075 | 1968
ET8412P2MB | 1 | 240 | 15 Fixed | 3250 | 2080
ET8411P2SB | 1 | 120 | 15 Fixed | 3523 | 2254.72
ET8412P2SB | 1 | 240 | 15 Fixed | 3687 | 2359.68
ET8432P2MBS-5 | 3 | 208-230 | 1.25 - 5 | 4005 | 2563.2
ET8432P2MBS-12 | 3 | 208-230 | 3- 12 | 4005 | 2563.2
ET8432P2MBS-32 | 3 | 208-230 | 8 - 32 | 4168 | 2667.52
ET8432P2SBS-5 | 3 | 208-230 | 1.25 - 5 | 4150 | 2656
ET8432P2SBS-12 | 3 | 208-230 | 3 - 12 | 4150 | 2656
ET8432P2SBS-32 | 3 | 208-230 | 8 - 32 | 4333 | 2773.12
ET8434P2MBS-5 | 3 | 480 | 1.25 - 5 | 4005 | 2563.2
ET8434P2MBS-12 | 3 | 480 | 3 - 12 | 4005 | 2563.2
ET8434P2MBS-32 | 3 | 480 | 8 - 32 | 4168 | 2667.52
ET8434P2SBS-5 | 3 | 480 | 1.25 - 5 | 4150 | 2656
ET8434P2SBS-12 | 3 | 480 | 3- 12 | 4150 | 2656
ET8434P2SBS-32 | 3 | 480 | 8 - 32 | 4333 | 2773.12
Series ET84 Panel Option Adders
Part Number | Description |  |  | List Price | Net Price | .64
ET084DF | DF - Dead Front Door |  |  | 238 | 152.32
ET084SS | SS - Stainless Steel Enclosure |  |  | 1603 | 1025.92
ET084BI | BI - BACnet MS/TP Interface |  |  | 1340 | 857.6

## Series SP85
Series 85 Spartan Oil Logic Simplex Sump Pump Panels
SP85 Part Number Matrix - Example SP8511P1B
1 - Single Phase
3 - Three Phase
1 - 120 VAC
2 - 208-230 VAC
4 - 480 VAC
P1 - Simplex
Select for Motor FLA
|  |  | B | 15 Amp Fixed
|  |  | BW-1.6 * | 1 -1.6 Amp
|  |  | BW-2.5 * | 1.6 - 2.5 Amp
|  |  | BW-4 * | 2.5 - 4 Amp
|  |  | BW-6.3 * | 4 -6.3 Amp
|  |  | BW-10 * | 6.3 - 10 Amp
|  |  | BW-16 * | 11-16 Amp
|  |  | BW-20 * | 16 - 20 Amp
|  |  | BW-25 * | 20 - 25 Amp
Select for Motor HP
To be used when motor FLA is not avilable
|  |  | BS-5 | 1.25 - 5 Amp
|  |  | BS-12 | 3 - 12 Amp
|  |  | BS-32 | 8 - 32 Amp
Series 85 Spartin Oil Logic Simplex Sump Pump Panel Pricing *Pricing Includes Sensor
Part Number | Phase | Voltage | Amp Range | List Price | Net Price | .64
SP8511P1B | 1 | 120 | 15 Fixed | 2050 | 1312
SP8512P1B | 1 | 240 | 15 Fixed | 2089 | 1336.96
SP8532P1BW-1.6 | 3 | 208-230 | 1 - 1.6 | 2603 | 1665.92
SP8532P1BW-2.5 | 3 | 208-230 | 1.6 - 2.5 | 2603 | 1665.92
SP8532P1BW-4 | 3 | 208-230 | 2.5 - 4 | 2603 | 1665.92
SP8532P1BW-6.3 | 3 | 208-230 | 4 - 6.3 | 2603 | 1665.92
SP8532P1BW-10 | 3 | 208-230 | 6.3 - 10 | 2603 | 1665.92
SP8532P1BW-16 | 3 | 208-230 | 11 - 16 | 2615 | 1673.6
SP8532P1BW-20 | 3 | 208-230 | 16 - 20 | 2639 | 1688.96
SP8532P1BW-25 | 3 | 208-230 | 20 - 25 | 2656 | 1699.84
SP8532P1BS-5 | 3 | 208-230 | 1.25 - 5 | 2800 | 1792
SP8532P1BS-12 | 3 | 208-230 | 3 - 12 | 2800 | 1792
SP8532P1BS-32 | 3 | 208-230 | 8 - 32 | 2892 | 1850.88
SP8534P1BW-1.6 | 3 | 480 | 1 - 1.6 | 2603 | 1665.92
SP8534P1BW-2.5 | 3 | 480 | 1.6 - 2.5 | 2603 | 1665.92
SP8534P1BW-4 | 3 | 480 | 2.5 - 4 | 2603 | 1665.92
SP8534P1BW-6.3 | 3 | 480 | 4 - 6.3 | 2603 | 1665.92
SP8534P1BW-10 | 3 | 480 | 6.3 - 10 | 2603 | 1665.92
SP8534P1BW-16 | 3 | 480 | 11 - 16 | 2615 | 1673.6
SP8534P1BW-20 | 3 | 480 | 16 - 20 | 2639 | 1688.96
SP8534P1BW-25 | 3 | 480 | 20 - 25 | 2656 | 1699.84
SP8534P1BS-5 | 3 | 480 | 1.25 - 5 | 2800 | 1792
SP8534P1BS-12 | 3 | 480 | 3 - 12 | 2800 | 1792
SP8534P1BS-32 | 3 | 480 | 8 - 32 | 2892 | 1850.88
** Pricing Includes Sensor