## Bottle Fillers-Bubblers
Bottle Fillers--Bubblers
Macola # | Model | Description | WEIGHTS | DIMENSIONS | MSP
| A172408F-BF12-TCWSFF |  | 125LBS | 32X24X47 (1PALLET) | 2999.88
| A172408S-BF12-TCWSFF |  | 125LBS | 32X24X47 (1PALLET) | 2999.88
| A171408F-BF12-TCWSFF |  | 100LBS | 26X32X41 (1 PALLET) | 1999.88
| A171408S-BF12-TCWSFF |  | 100LBS | 26X32X41 (1 PALLET) | 1999.88
| A172408F-VR-BF12-TCWSFF |  | 125LBS | 32X24X47 (1PALLET) | 2999.88
| A172408S-VR-BF12-TCWSFF |  | 125LBS | 32X24X47 (1PALLET) | 2999.88
| A171408F-VR-BF12-TCWSFF |  | 100LBS | 26X32X41 (1 PALLET) | 1999.88
| A171408S-VR-BF12-TCWSFF |  | 100LBS | 26X32X41 (1 PALLET) | 1999.88
| BF15 - TCWSFF |  | 28LBS | 31X21X11 (1 CARTON) | 1299.88
| BF16-TCWSFF |  | 28LBS | 31X21X11 (1 CARTON) | 1299.88
| BF158-TCWSFF |  | 152LBS | 38X35X41 (1 PALLET) | 3499.88
| BF168-TCWSFF |  | 152LBS | 38X35X41 (1 PALLET) | 3499.88
| M-OBR4-GRD-TCWSFF |  | 152LBS | 40X48X30 (1 PALLET) | 6499.88
| WF1 ADDER |  |  |  | 299.88
| BCD ADDER (SENSOR UNIT ONLY) |  |  |  | 349.88
LOGO ADDER

## Commercial Filters
Commercial Filters
Macola # | Model | Description | Max Flow Rate (GPM) | Size | Endcap | MSP
Commercial Size Force Field Filters
851079 | TC-FF1-35 | Triple Clear - Force Field with Silver | 45gpm | 35" L x 6.5" W | Top w/Oring | 849
851144 | TC-FF8-35 | Triple Clear - Force Field | 45gpm | 35" L x 6.5" W | Top w/Oring
851078 | TC-FF1C-35 | Triple Clear - Force Field with Carbon & Silver | 45gpm | 35" L x 6.5" W | Top w/Oring | 999
| TC-FF1C-20 | Triple Clear - Force Field with Carbon & Silver | 25gpm | 20" L x 6.5" W | Top w/Oring | 599
| TC-FF1C-60 | Triple Clear - Force Field with Carbon & Silver | 75gpm | 60" L x 6.5" W | Top w/Oring | 1499
| WH25-FF1C-420E | Triple Clear - Force Field with Silver--For water heater system | 25gpm | 20" L x 4.5W | Top w/Oring | 449
| WH45-FF1C-35 | Triple Clear - Force Field with Carbon & Silver--for water heater system | 45gpm | 35" L x 6.5" W | Top w/Oring | 999
| TC-FF1-40 | Triple Clear - Force Field with Silver | 50gpm | 40"L x 6.5W | Top w/Oring | 849
| TC-FF1C-40 | Triple Clear - Force Field with Carbon & Silver | 50gpm | 40"L x 6.5W | Top w/Oring | 999
TC-FF1-P
851501 | TC-FF1-P2M | Triple Clear - Force Field with Silver | 35gpm | 26"Lx7"W | M Flange
851307 | TC-FF1C-P2M | Triple Clear - Force Field with Carbon & Silver | 35gpm | 26"L x 7"W | M Flange | 899
851269 | TC-FF1CP2SS | Triple Clear - Force Field, 1um Disruptor with Silver | 35gpm | 25 1/8"L x 7"W | Top w/Oring
Commerical Sized Pre-Filters-MIN ORDER QTY-8
851145 | TC-PFXL-35 | Triple Clear - Pre-filter, 20um | n/a | 35" L x 6.5" W | Top w/Oring | 249
851186 | TC-PFMB5-35 | Triple Clear - Pre-filter, 5um FDA Melt blown polypropylene media, 35"long | n/a | 35" L x 6.5" W | Top w/Oring | 449
851185 | TC-PFMB10-35 | Triple Clear - Pre-filter, 10um FDA Melt blown polypropylene media, 35"long | n/a | 35" L x 6.5" W | Top w/Oring | 449
851187 | TC-PFGF-35 | Triple Clear - Pre-filter, 3um FDA glass media | n/a | 35" L x 6.5" W | Top w/Oring | 549
| TC-MF5-40 | Triple Clear - Pre-Filter, Micro-Fiber, (5) micron, 40"long | n/a | 40"L x 6.5W | Top w/Oring | 449
| TC-GF5-40 | Triple Clear - Pre-Filter Micro-glass Fiber, (5) micron, 40"long | n/a | 40"L x 6.5W | Top w/Oring | 549
293833 | SP 1 P2M-EVP | Polypropylene felt, 1 um nominal, M style flange, Enhance Verticle Pleat Bag | n/a | 30.5"L x 7"W | M flange | 39
293834 | SP 5 P2M-EVP | Polypropylene felt, 5 um nominal, M style flange, Enhance Verticle Pleat Bag | n/a | 30.5"L x 7"W | M flange | 39
294509 | SP5P2M-EVP*/Q-250695 | Polypropylene felt, 5 um nominal, with 5/10 pleats, M style flange, Enhance Verticle Pleat Bag | n/a | 30.5"L x 7"W | M flange | 39
292709 | SP 10 P2M-EVP | Polypropylene felt, 10 um nominal, M style flange, Enhance Verticle Pleat Bag | n/a | 30.5"L x 7"W | M flange | 39
851458 | MDX-SP1P2CMS | Madd Maxx pleated element, 1um nominal, Polypropylene felt, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
851459 | MDX-SP5P2CMS | Madd Maxx pleated element, 5um nominal, Polypropylene felt, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
| MDX-SP10P2CMS | Madd Maxx pleated element, 10um nominal, Polypropylene felt, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
851399 | MDX-SP25P2CMS | Madd Maxx pleated element, 25um nominal, Polypropylene felt, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
851451 | MDXL-SP100P2CM | Madd Maxx pleated element, 100um nominal, Polypropylene felt, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
851452 | MDXL-SP200P2CM | Madd Maxx pleated element, 200um nominal, Polypropylene felt, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
| MDX-MF1P2CMS | Madd Maxx pleated element, 1um absolute, Meltblown Polypropylene, M Style Flange | n/a | 26"L x 7.45"W | M flange | 249
851299 | MDX-MF5P2CMS | Madd Maxx pleated element, 5um absolute, Meltblown Polypropylene, M Style Flange | n/a | 26"L x 7.45"W | M flange | 449
851423 | MDX-MF10P2CMS | Madd Maxx pleated element, 10um absolute, Meltblown Polypropylene, M Style Flange | n/a | 26"L x 7.45"W | M flange | 449
| TC-MPE0.65-30C8S | PES membrane, 0.65 micron, 30" length, 222/fin, silicone orings | n/a | 30"L x 2.5"W | Fin/222 | 649
| MDX-GF1P2CM | Madd Maxx pleated element, 1um absolute, Micro-glass, #2 Size, M Style Flange with plastic cage | n/a | 26"L x 7.45"W | M flange | 499
851464 | MDX-SP1P2CTC-35* | Madd Maxx pleated element, 1um nominal, Polypropylene felt | n/a | 35" L x 6.5" W | Top w/Oring | 249
851465 | MDX-SP5P2CTC-35* | Madd Maxx pleated element, 5um nominal, Polypropylene felt | n/a | 35" L x 6.5" W | Top w/Oring | 249
POU - Cartridges for Ametek Plastic Housings
872616 | TC-FF1-220-C3E | Triple Clear - Force Field with Silver | 8gpm | 20"L x 2.5" W | 222/closed | 149
872660 | TC-FF1-220-C2E | Triple Clear - Force Field with Silver | 8gpm | 20"L x 2.5" W | 213/closed | 149
872661 | TC-FF1-210C2E | Triple Clear - Force Field with Silver | 4gpm | 10"L x2.5"W | 213/closed | 79
851061 | TC-FF1-410C1E | Triple Clear - Force Field with Silver | 7gpm | 20"L x 4.5"W | Double Open End | 199
851062 | TC-FF1-420C1E | Triple Clear - Force Field with Silver | 14gpm | 20"L x 4.5"W | Double Open End | 299
| TC-DFF1-220-C3S | Triple Clear - Force Field with Silver | 8gpm | 20"L x 2.5" W | 222/closed | 199
| TC-DFF1-220-C2E | Triple Clear - Force Field with Silver | 8gpm | 20"L x 2.5" W | 213/closed | 199
| TC-DFF1-210-C2E | Triple Clear - Force Field with Silver | 4gpm | 10"L x2.5"W | 213/closed | 99
872617 | TC-FF1C-220-C3S | Triple Clear - Force Field with Carbon & Silver | 8gpm | 20"L x 2.5" W | 222/closed | 179
872824 | TC-FF1C-220-C2E | Triple Clear - Force Field with Carbon & Silver | 8gpm | 20"L x 2.5" W | 213/closed | 179
872814 | TC-FF1C-210C2E | Triple Clear - Force Field with Carbon & Silver | 4gpm | 10"L x2.5"W | 213/closed | 99
| TC-FF1C-410C1E | Triple Clear - Force Field with Carbon & Silver | 7gpm | 20"L x 4.5"W | Double Open End | 229
| TC-FF1C-420C1E | Triple Clear - Force Field with Carbon & Silver | 14gpm | 20"L x 4.5"W | Double Open End | 399
| TC-DFFC-220-C3S | Double layer Triple Clear - Force Field with Carbon & Silver | 8gpm | 20"L x 2.5" W | 222/closed | 249
| TC-DFFC-220-C2E | Double layer Triple Clear - Force Field with Carbon & Silver | 8gpm | 20"L x 2.5" W | 213/closed | 249
| TC-DFFC-210-C2E | Double layer Triple Clear - Force Field with Carbon & Silver | 4gpm | 10"L x2.5"W | 213/closed | 129
Bagged Carbon - Quote Q250623
| MPC12* | Empty bag for filling carbon onsite. | n/a |  | n/a | 59
292006 | MPC16* | Empty bag for filling carbon onsite. | n/a |  | n/a
293179 | MPCF-12 | Bagged Carbon for CB60 tanks (10 to fill) | n/a | 12 3/8" ID | n/a | 129
292884 | MPCF-16 | Bagged Carbon for CB60 tanks | n/a |  | n/a
293213 | RWCB-16 | Bagged Carbon for RWCB tanks (6 to fill) | n/a | 15 5/8" ID | n/a | 249
294677 | RWCB-18-PE
294188 | MPCF-18 | Bagged Carbon for CB60L tanks (10 to fill) | n/a | 17 5/8" ID | n/a
294466 | MPCF12-PE-8X16 | Bagged Large Granular Carbon for CB60 tanks (6 to fill) | n/a | 12 3/8" ID | n/a | 129
294467 | MPCF16-PE-8X16 | Bagged Large Granular Carbon for CB60 & RWCV tanks (6 to fill-TBD) | n/a |  | n/a
294468 | MPCF18-PE-8X16 | Bagged Large Granular Carbon for CB60 tanks (6 to fill-TBD) | n/a | 17 5/8" ID | n/a
POU - Cartridges for Novem Plastic Housings
872617 | TCM-FF1C-220-C3S | Triple Clear - Force Field with Carbon & Silver | 8gpm | 20"L x 2.5" W | 222/closed
873088 | TCM-FF1C-220-C1E | Triple Clear - Force Field with Carbon & Silver | 8gpm | 20"L x 2.5" W | Double Open End
873089 | TCM-FF1C-210-C1E | Triple Clear - Force Field with Carbon & Silver | 4gpm | 10"L x2.5"W | Double Open End
851063 | TCM-FF1C-410-C1E | Triple Clear - Force Field with Carbon & Silver | 7gpm | 10"L x 4.5"W | Double Open End
851064 | TCM-FF1C-420-C1E | Triple Clear - Force Field with Carbon & Silver | 14gpm | 20"L x 4.5"W | Double Open End
Non-Code Vessel Cartridges
873973 | HSLP25-20C1V | Continuous pleat all-polypropylene pleated element, 25um absolute |  | 20"L x 2.5"W | Double Open End
873974 | HSLP10-20C1V | Continuous pleat all-polypropylene pleated element, 10um absolute |  | 20"L x 2.5"W | Double Open End
873975 | HSLP5-20C1V | Continuous pleat all-polypropylene pleated element, 5um absolute |  | 20"L x 2.5"W | Double Open End
873976 | CPP25-20C1V | Continuous pleat all-polypropylene pleated element, 25um nominal |  | 20"L x 2.5"W | Double Open End
873977 | CPP10-20C1V | Continuous pleat all-polypropylene pleated element, 10um nominal |  | 20"L x 2.5"W | Double Open End
873978 | CPP5-20C1V | Continuous pleat all-polypropylene pleated element, 5um nominal |  | 20"L x 2.5"W | Double Open End
874374 | CPP1A-30C3S | Continuous pleat all-polypropylene pleated element, 1um nominal |  | 30"L x 2.5"W | Flat/222
874375 | CPP1-40C1S5-MC | Continuous pleat all-polypropylene pleated element, 1um nominal |  | 40"L x 2.5"W | Double Open End
294160 | AP25P2SHS-AS (Quote 250661) | Polyester Plain 25 Micron rated all sewn with a handle strap; 50 bag MOQ
294508 | SP50/25/10/5P2M (Quote 250695) | Polyester Plain50/25/10/5 4 layer bag, MFlange; 10 bag MOQ
WH Filters
851082 | WH25-FF1C-420E | Triple Clear - Force Field Filter with Carbon & Silver, 4.5" X 20", Double O'ring Seal with Closed End
851079 | WH45-FF1C-35 | Triple Clear - Force Field with Carbon & Silver, 35"long

## Quick Change POU
Point-of-Use Solutions |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Flow Rate (GPM) | Filter Size | MSP
POU Capsule - Under The Counter - 1.5gpm
832200 | TC-UC-10 | Force Field With Carbon & Silver Replacement capsule with Quick Connect Fittings | 1.5gpm | 10" | 299.88
840060 | TC-UC-10KIT | Force Field With Carbon & Silver Replacement capsule with Quick Connect Fittings with Mounting Hardware Kit | 1.5gpm | 10" | 399.88
| TC-UC-10-SR-PTC |  | 1.5gpm | 10"
| TC-UC-10-SR-KIT-PTC |  | 1.5gpm | 10"
832201 | TC-UC-5 | Force Field With Carbon & Silver Replacement capsule with Quick Connect Fittings | .75gpm | 5"
840061 | TC-UC-5KIT | Force Field With Carbon & Silver Replacement capsule with Quick Connect Fittings with Mounting Hardware Kit | .75gpm | 5"
832250 | TC-UC-N-10 | Force Field Non-Carbon & Silver Replacement capsule with Quick Connect Fittings | 1.5gpm | 10"
840066 | TC-UC-N-10KIT | Force Field Non-Carbon & Silver Replacement capsule with Quick Connect Fittings with Mounting Hardware Kit | 1.5gpm | 10"
832251 | TC-UC-N-5 | Force Field Non-Carbon & Silver Replacement capsule with Quick Connect Fittings | .75gpm | 5"
840067 | TC-UC-N-5KIT | Force Field Non-Carbon & Silver Replacement capsule with Quick Connect Fittings with Mounting Hardware Kit | .75gpm | 5"
POU Capsule - High Flow - 3gpm
840006 | TC-POU-10-KIT | Force Field With Carbon & Silver Replacement capsule with Push-to-Connnect Fittings with Mounting Hardware Kit | 3gpm | 10" | 349.88
832170 | TC-POU-DC10-PTC | Force Field With Carbon & Silver Replacement capsule with Push-to-Connect Fittings | 3gpm | 10" | 249.88
| TC-POU-N-10-KIT | Force Field With Silver Replacement capsule with Push-to-Connnect Fittings with Mounting Hardware Kit | 3gpm | 10" | 329.88
| TC-POU-N-10-PTC | Force Field With Silver Replacement capsule with Push-to-Connnect Fittings | 3gpm | 10" | 229.88
840057 | TC-POU-5-KIT | Force Field With Carbon & Silver Replacement capsule with Push-to-Connnect Fittings with Mounting Hardware Kit | 1.5gpm | 5" | 329.88
832169 | TC-POU-DC5-PTC | Force Field With Carbon & Silver Replacement capsule with Push-to-Connect Fittings | 1.5gpm | 5" | 199.88
Elkay
832255 | TC-TL-10 |  |  | 10"
10"

## Small Systems--POE
Small Systems - Point of Entry (POE) |  |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # |  | Model | Description | GPM Max | Approx Size | MSP (ea)
353787 |  | HM-POE-6-KIT |  | 6
353570 |  | HM-POE-6-4S
353461 | System | HM-POE-6 | Entire unit is 304 SS polished, 30" filter into a 20" filter, 2 Pressure gauges and no valves | 6 | 13"W x 38"h x 4"d | 1699.8
873055 | Filters | HM6-CC30C3 | Stage 1: Carbon Cartridge CTO 5um | 6 |  | 99.88
873057 | Filters | HM6-FF120C3 | Stage 2: Force Field 1um with Silver | 6 |  | 149.88
353785 |  | HM-POE-8-KIT |  | 8
353462 | System | HM-POE-8 | Entire unit is 304 SS polished, 20" filters in each stage, 304 SS Valves for System, 2 Pressure gauges | 8 | 36"w x 38"h x 13'd | 4999.8
872889 | Filters | HM8-PF20C3 | Stage 1: Polypropylene prefilter 1um | 8 |  | 79.88
872890 | Filters | HM8-CC20C8 | Stage 2: Carbon Cartridge CTO 5um (5 cartridges to fill) | 8 |  | 59.88
872891 | Filters | HM8-FF120C6 | Stage 3: Force Field 1um with Silver | 8 |  | 149.88
353786 |  | HM-POE-15-KIT | Kit is 353463-HM-POE-15 (1), 872892-HM15-PF30C3 (1), 872893-HM15-CC30C8 (5), 872894-HM15-FF130C6 (1) | 15
353463 | System | HM-POE-15 | Entire unit is 304 SS polished, 30" filters in each stage, 304 SS Valves for System, 2 Pressure gauges | 15 | 36"w x 48"h x 13"d | 5999.8
872892 | Filters | HM15-PF30C3 | Stage 1: Polypropylene prefilter 1um | 15 |  | 129.88
872893 | Filters | HM15-CC30C8 | Stage 2: Carbon Cartridge CTO 5um (5 cartridges to fill) | 15 |  | 99.88
872894 | Filters | HM15-FF130C6 | Stage 3: Force Field 1um with Silver | 15 |  | 249.88
353517 | System | POE15-4S-CB | Entire unit is 304 SS polished, 30" cartridge filters in Stage 3 & 4, EVP Bag stage 1 & Carbon Bags Stage 2, 304 SS Valves for System, 2 Pressure gauges | 15 | 58"w x 49"h x 13"d | 8999.8
293178 | Filters | POE15-SP1-EVP | Stage 1: Pleated polypropylene Bag, 1um nominal | 15 |  | 39.88
293180 | Filters | POE15-CB-10 | Stage 2: Filled Carbon Bags (10 bags required per change-out) | 15 |  | 129.88
873881 | Filters | POE15-FF130C6 | Stage 3: Force Field 1um with Silver | 15 |  | 249.88
873881 | Filters | POE15-FF130C6 | Stage 4: Force Field 1um with Silver | 15 |  | 249.88
| System | HM-POU-3.5 | Entire unit is 304 SS polished, 10" filter DOE into a 10" filter 222, 2 Pressure gauges and no valves | 3.5
| Filters | HM3.5-SR-10C1 | Stage 1: 5um CTO and Scale Removal Filter | 3.5
| Filters | HM3.5-FF1-10C3 | Stage 2: Force Field 1um with Silver | 3.5
| System | HM-POU-5 | Entire unit is 304 SS polished, 20" filter DOE into a 20" filter 222, 2 Pressure gauges and no valves | 5
| Filters | HM5-SR-20C1 | Stage 1: 5um CTO and Scale Removal Filter | 5
| Filters | HM5-FF20C3 | Stage 2: Force Field 1um with Silver | 5

## Commercial Vessels--Code
Commerical Vessels--Code Stamped |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Filters | Max Flow Rate FFF | Material | Max PSI | Code Stamped | Standard Flange* | Filter Size | Filter Endcap | Clean PSID | Inlet/Outlet Locations | Approx Size w Clearances | MSP
Vessels Verticle
| DWS3-3F-35 | 3 Round Vessel with DP Gauge/Switch | 3 | 150gpm | 304SS | 150 | yes | 3"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 42"w x 64" h x 34" d | 24980.88
| DWS3-3F-35-316SS | 3 Round Vessel with DP Gauge/Switch | 3 | 150gpm | 316SS | 150 | yes | 3"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 42"w x 64" h x 34" d | 29980.88
353731 | DWS-3-4F-35-304-300 | 3 Round Vessel with DP Gauge/Switch (NON-CODE) | 3 | 150gpm | 304SS | 300 | yes | 4"RFF | 35"L x 6.5"W |  | 2lb | Made to Order
| DWS6-3F-20 | 6 Round Vessel with DP Gauge/Switch | 6 | 150gpm | 304SS | 150 | yes | 3"RFF | 20"L x 6.5"W |  | 2lb | Made to Order | 51"w x53"h x 45" d | 37980.88
| DWS6-3F-35 | 6 Round Vessel with DP Gauge/Switch | 6 | 150gpm | 304SS | 150 | yes | 3"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 51"w x68"h x 45" d | 39980.88
| DWS6-3F-35-BP | 6 Round Vessel with DP Gauge/Switch and 304 SS bypass system | 6 | 150gpm | 304SS | 150 | yes | 3"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 57"w x68"h x 45" d | 59980.88
353394 | DWS10-4F-35 | 10 Round Vessel with DP Gauge/Switch | 10 | 150gpm | 304SS | 150 | yes | 4"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 61"w x69"h x 53" d | 74980.88
| DWS10-4F-35-BP | 10 Round Vessel with DP Gauge/Switch and 304 SS bypass system | 10 | 150gpm | 304SS | 150 | yes | 4"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 64"w x69"h x 53" d | 89980.88
| DWS10-4F-20 | 10 Round Vessel--Short Version with DP Gauge/Switch | 10 | 150gpm | 304SS | 150 | yes | 4"RFF | 20"L x 6.5"W |  | 2lb | Made to Order | 61"w x54"h x 53" d | 74980.88
| DWS6-3F-35-300 | 6 Round Vessel with DP Gauge/Switch | 6 | 150gpm | 304SS | 300 | yes | 3"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 51"w x68"h x 45" d | 20250
| DWS6-3F-35-BP-300 | 6 Round Vessel with DP Gauge/Switch and 304 SS bypass system | 6 | 150gpm | 304SS | 300 | yes | 3"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 57"w x68"h x 45" d | 24840
| DWS10-4F-35-300 | 10 Round Vessel with DP Gauge/Switch | 10 | 150gpm | 304SS | 300 | yes | 4"RFF | 35"L x 6.5"W |  | 2lb | Made to Order | 61"w x69"h x 53" d | 32800
| DWS10-4F-35-BP-300 | 10 Round Vessel with DP Gauge/Switch and 304 SS bypass system | 10 | 150gpm | 304SS | 300 | yes | 4"RFF | 20"L x 6.5"W |  | 2lb | Made to Order | 64"w x69"h x 53" d | 38050
353795 | DWS10-4F-35-SO180
*All code stamped vessels can be ordered in different flange sizes and inlet/outlet alignments
Vessels Horizontal
| DWSH3-3F-60 | 3 Round Vessel with DP Gauge/Switch |  | 150gpm | 304SS | 150 | yes | 3"RFF | 60"L x 6.5"W |  | 2lb | Made to Order
| DWSH7-6F-60 | 7 Round Vessel with DP Gauge/Switch |  | 150gpm | 304SS | 150 | yes | 6"RFF | 60"L x 6.5"W |  | 2lb | Made to Order
| DWSH3-3F-60-300 | 3 Round Vessel with DP Gauge/Switch |  | 300gpm | 304SS | 300 | yes | 3"RFF | 60"L x 6.5"W |  | 2lb | Made to Order
| DWSH7-6F-60-300 | 7 Round Vessel with DP Gauge/Switch |  | 300gpm | 304SS | 300 | yes | 6"RFF | 60"L x 6.5"W |  | 2lb | Made to Order

## Commerical Vessels--Non-code
Non-Code Vessels |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Filters | max GPM FFF | Material | Max PSI | Code Stamped | Inlet/Outlet Size | Filter Size | Filter Endcap | Clean PSID | Inlet/Outlet Location | Approx Size | MSP
353744 | SRVB-B2-2V-SO/BO-TCWS | side-in side/bottom out | 1 | 35 | 304ss | 150 | No | 2" NPT |  | viton o'ring | 2 | side-in bottom out | 12"w x 52"h x 10d | 2498.88
353745 | SRVB-B2-2FV-TCWS | side-in bottom out | 1 | 35 | 304ss | 150 | No | 2"RFF |  | viton o'ring | 2 | side-in bottom out | 12"w x 52"h x 10d | 2498.88
| SRVC-B1-101V | Top-in Top-out | 1 | 35 | 304ss | 150 | No | 1"NPT | 10"L x 2.5"W | Fits 222/flat or DOE cartridges | 2 | Top-in Top-out | 6"w x 18"h x 6"d | 349
353743 | SRVC-B1-201V-TCWS | Top-in Top-out | 1 | 35 | 304ss | 150 | No | 1"NPT | 20"L x 2.5"W | Fits 222/flat or DOE cartridges | 2 | Top-in Top-out | 6"w x 28"h x 6"d | 449
| SRVC-B1-301V | Top-in Top-out | 1 | 35 | 304ss | 150 | No | 1"NPT | 30"L x 2.5"W | Fits 222/flat or DOE cartridges | 2 | Top-in Top-out | 6"w x 38"h x 6"d | 599
| SRVC-B5-302FV | Side-in Bottom-out | 1 | 35 | 304ss | 150 | No | 2"RFF | 30"L x 2.5"W | 222/fin design | 2 | Side-in Bottom-out | 12"w x 48"h x 12"d | 1499
| SRVC-B19-304FV | Side-in Bottom-out | 1 | 25 | 304ss | 150 | No | 4"RFF | 30"L x 2.5"W | 222/fin design | 2 | Side-in Bottom-out | 27"w x 64"h x 25"d | 5499
| SRVB-B42-4FV | Bottom-in Bottom-out | 4 | 140 | 304ss | 150 | No | 4"RFF | 26"L x 6.5"W | Viton o'ring | 2 | Bottom-in Bottom-out | 32"w x 68"h x 30"d | 14980.88
| SRVB-B62-3FE | Bottom-in Bottom-out | 6 | 210 | 304ss | 150 | No | 6"RFF |  | EPDM oring | 2 | Bottom-in Bottom-out
| SRVB-B62-6FV | Bottom-in Bottom-out | 6 | 210 | 304ss | 150 | No | 6"RFF | 26"L x 6.5"W | Viton o'ring | 2 | Bottom-in Bottom-out | 36"w x 71"h x 36"d | 19980.88
| SRVB-B122-3FE | Bottom-in Bottom-out | 12 | 420 | 304ss | 150 | No | 6"RFF |  | EPDM oring | 2 | Bottom-in Bottom-out
353751 | SRVB-B122-4FV-TCWS | Bottom-in Bottom-out | 12 | 420 | 304ss | 150 | No | 4"RFF | 26"L x 6.5"W | viton o'ring | 2 | Bottom-in Bottom-out
| SRVB-B122-6FV | Bottom-in Bottom-out | 12 | 420 | 304ss | 150 | No | 6"RFF | 26"L x 6.5"W | Viton o'ring | 2 | Bottom-in Bottom-out | 56"w x 89"h x 54"d | 29980.88
353805 | SRVB-B62-3FE | Bottom-in Bottom-out | 6 | 210 | 304ss | 150 | No | 3"RFF |  |  |  | Bottom-in Bottom-out |  |  | (INCLUDES 10%)
353803 | SRVB-B122-3FE-TCWS | Bottom-in Bottom-out | 12 | 420 | 304ss | 150 | No | 3"RFF |  | Viton o'ring |  | Bottom-in Bottom-out
| SRID-2-3F-B-GT-CD | side-in side/bottom out | 1 | 35 | 304ss | 150 | No | 3"RFF

## Domestic Water Systems -POE
Domestic Water Systems--POE |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Filters | Max GPM FFF | Material | Max PSI | Code Stamped | Inlet/Outlet | Filter Size | Filter Endcap | Clean PSID | Inlet/Outlet Location | Approx Size w Clearances | MSP
| DWS90-2FB-2S-CF | 90 gpm 2-Stage POE Skidded System |  | 90 | 304ss | 150psi | no | 2"RFF |  |  | 2 | 20 | 40"w x 66"h x 36"d | 29980.88
Stage 1: Carbon Vessel - 30L
Stage 2: Force Field Filter
| DWS90-2FB-3S-PFCF | 90 gpm 3-Stage POE Skidded System |  | 90 | 304ss | 150psi | no | 2"RFF |  |  | 4 | 20 | 60"w x 66"h x 36"d | 44980.88
Stage 1: Pre-filter (mmax 10um recommended)
Stage 2: Carbon Vessel - 30L - use a MPC12* carbon bag
Stage 3: Force Field Filter
| DWS250-4FB-2S-CF | 250gpm 2-Stage POE Skidded System |  | 250 | 304ss | 150psi | yes | 4"RFF |  |  | 4 | 20 | 88"w x 90"h x 47d | 59980.88
Stage 1: Carbon Vessel - 60L
Stage 2: Force Field Filter
| DWS250-4FB-2S-CF-BP | 250gpm 2-Stage POE Skidded System w/pre-piped bypass |  | 250 | 304ss | 150psi | yes | 4"RFF |  |  | 4 | 20 | 96"w x 90"h x 47d | 99980.88
Stage 1: Carbon Vessel - 60L
Stage 2: Force Field Filter
353660 | DWS400-4FB-2S-CF | 400gpm 2-Stage POE Skidded System |  | 400 | 304ss | 150psi | yes | 4"RFF |  |  | 4 | 20 | 100"w x 92"h x 54d | 119980.88
Stage 1: Carbon Vessel - 60L
Stage 2: Force Field Filter
| DWS400-4FB-2S-CF-BP | 400gpm 2-Stage POE Skidded System w/pre-piped bypass |  | 400 | 304ss | 150psi | yes | 4"RFF |  |  | 4 | 20 | 108"w x 92"h x 54d | 149980.88
Stage 1: Carbon Vessel - 60L
Stage 2: Force Field Filter

## Carbon Filtration Systems
Carbon Filtration Systems |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Filters Bags | Max Flow (GPM) | Material | Design Pressure | ASME Code Stamped | Inlet/Outlet | Filter Size | Filter Endcap | Clean PSID | Approx Size | MSP
| CB-30L-2F-304 | 30 Liter Bagged Carbon Tank | 5 | 200 | 304ss | 150 | NO | 2"RFF |  |  | 2 | 25"w x 51"h x 24d | 14980.88
| CB-30L-2F-304-BP | 30 Liter Bagged Carbon Tank with pre-piped bypass (not skidded) | 5 | 200 | 304ss | 150 | NO | 2"RFF |  |  | 2 | 40"w x 51"h x 24d | 24980.88
| CB-30L-2F-316 | 30 Liter Bagged Carbon Tank | 5 | 200 | 316ss | 150 | NO | 2"RFF |  |  | 2 | 25"w x 51"h x 24d | 19980.88
| Skid 48" x 36" | Optional Carbon Steel Painted Blue Skid sized for a unit with bypass system included | n/a | n/a | n/a | n/a | n/a | n/a |  |  | n/a | 48"w x 36"d | 2250
353526 | RWCV-60-3FB | 60 Liter Bagged Carbon Tank | 6 | 200 | 304ss | 150 | NO | 3"RFF |  |  | 2 | 24"w x 59"h x 18d | 9999
353542 | RWCV-60-3FB-2O | 60 Liter Bagged Carbon Tank with 2 outlets / 1 inlet for design flexibility | 6 | 200 | 304ss | 150 | NO | 3"RFF |  |  | 2 | 24"w x 59"h x 18d | 10380.88
353750 | RWCV-60-4FB-2O | 60 Liter Bagged Carbon Tank with 2 outlets / 1 inlet for design flexibility | 6 | 200 | 304ss | 150 | NO | 4"RFF |  |  | 2 |  | 10381.88
| CB-60L-4F-304 | 60 Liter Bagged Carbon Tank | 6 | 200 | 304ss | 150 | Yes | 4"RFF |  |  | 2 | 24"w x 70"h x 24d | 29980.88
| CB-60L-4F-304-BP | 60 Liter Bagged Carbon Tank with pre-piped bypass (not skidded) | 6 | 200 | 304ss | 150 | Yes | 4"RFF |  |  | 2 | 30"w x 70"h x 24d | 34980.88
| CB-60L-4F-316 | 60 Liter Bagged Carbon Tank | 6 | 200 | 316ss | 150 | Yes | 4"RFF |  |  | 2 | 24"w x 70"h x 24d | 34980.88
| CB-60L-4F-304-300U | 60 Liter Bagged Carbon Tank | 6 | 200 | 304ss | 300 | Yes | 4"RFF |  |  | 2 | 24"w x 70"h x 24d | 44980.88
353730 | CB-60L-4F-304-300 | 60 Liter Bagged Carbon Tank (NON-CODE) | 6 | 200 | 304ss | 300 | NO | 4"RFF |  |  | 2 | 24"w x 70"h x 24d | 44980.88
353661 | CB-60L-4F-304-90D | 60 Liter Bagged Carbon Tank (NON-CODE)

## Water Heater
Water Heater Filter System |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Filters | max GPM FFF | Material | Max PSI | Code Stamped | Inlet/Outlet Size | Filter Size | Filter Endcap | Clean PSID | Inlet/Outlet | Approx Size w Clearances | MSP
Vessels
| WH-25-1B | Side-in Side-out, DP gauge & Switch, Auto Air Release Valve | 1 | 25gpm | 304ss | 150 | Yes | 1"NPT | 4.5"w x 20"l |  |  |  | 60"h x 10"w x 10"d | 2999
| WH-25-1C | Side-in Side-out, DP gauge & Switch, Auto Air Release Valve | 1 | 25gpm | 316ss | 150 | Yes | 1"NPT | 4.5"w x 20"l |  |  |  | 60"h x 10"w x 10"d | 3999
353519 | WH-45-1B | Side-in Side-out, DP gauge & Switch, Auto Air Release Valve | 1 | 25gpm | 304ss | 150 | Yes | 1"NPT | 6.5"w x 35"l |  |  |  | 90"h x 10"w x 10"d | 6999
353836 | WH-45-2F-B | Side-in Side-out, DP gauge & Switch, Auto Air Release Valve w/2" flange | 1 | 25gpm | 304ss | 150 | Yes | 2"NPT | 6.5"w x 35"l |  |  |  | 90"h x 10"w x 10"d
| WH-45-1C | Side-in Side-out, DP gauge & Switch, Auto Air Release Valve | 1 | 25gpm | 316ss | 150 | Yes | 1"NPT | 6.5"w x 35"l |  |  |  | 90"h x 10"w x 10"d | 8999
| WH-45-2C | Side-in Side-out, DP gauge & Switch, Auto Air Release Valve | 1 | 25gpm | 316ss | 150 | Yes | 2"NPT | 6.5"w x 35"l |  |  |  | 90"h x 10"w x 10"d | 8999
1
Bypass Systems
| WH-1B-BYPASS | 316 SS, Bypass Assembly, 1" Plumbing & Connections, (3) 1" SS Ball Valves. | [10 empty] | 18"h x 10"w x 3"d | 2999
| WH-2B-BYPASS | 316 SS, Bypass Assembly, 2" Plumbing & Connections, (3) 2" SS Ball Valves. | [10 empty] | 18"h x 10"w x 3"d | 4499
| WH-1C-BYPASS | 316 SS, Bypass Assembly, 1" Plumbing & Connections, (3) 1" SS Ball Valves. | [10 empty] | 50"h x 12"w x 3"d | 3399
| WH-2C-BYPASS | 316 SS, Bypass Assembly, 2" Plumbing & Connections, (3) 2" SS Ball Valves. | [10 empty] | 50"h x 12"w x 3"d | 4999

## Cooling Towers
Cooling Tower Systems |  | ** NOTE: ADD surcharge of 10% on vessels **
Macola # | Model | Description | Max PSI | Standard Flange* | Material | Max Flow Rate | Filter Size | Clean PSID | Inlet/Outlet Locations | Approx Size w Clearances | MSP
Vessels
CTS-500-4F-2S
|  | Stage 1: (6) high flow disruptor with silver |  |  |  |  | 35"L x 6.5"d
|  | Stage 2: (10) 1.2um disruptor with silver |  |  |  |  | 35"L x 6.5"d
CTS-270-4F-2S
|  | Stage 1: (6) high flow disruptor with silver |  |  |  |  | 35"L x 6.5"d
|  | Stage 2: (6) 1.2um disruptor with silver |  |  |  |  | 35"L x 6.5"d
CTS-135-4F-2S
|  | Stage 1: (6) high flow disruptor with silver |  |  |  |  | 35"L x 6.5"d
|  | Stage 2: (3) 1.2um disruptor with silver |  |  |  |  | 35"L x 6.5"d
CTS-135-4F-3S
|  | Stage 1: (3) Maxx flow XL pleated pre-filters |  |  |  |  | 35"L x 6.5"d
|  | Stage 2: (3) High flow 8um disruptor with Silver pleated filters |  |  |  |  | 35"L x 6.5"d
|  | Stage 3: (3) 1.2um disruptor with silver |  |  |  |  | 35"L x 6.5"d
CTS-45-2F-1S
|  | Stage 1: (3) 1.2um disruptor both with silver |  |  |  |  | 35"L x 6.5"d
353396 | CTS-45-2F-2S
|  | Stage 1: (1) high flow disruptor with silver |  |  |  |  | 35"L x 6.5"d
|  | Stage 2: (1) 1.2um disruptor with silver |  |  |  |  | 35"L x 6.5"d
353395 | CTS-45-2F-3S
|  | Stage 1: (1) Maxx flow XL pleated pre-filters |  |  |  |  | 35"L x 6.5"d
|  | Stage 2: (1) High flow 8um disruptor with Silver pleated filters |  |  |  |  | 35"L x 6.5"d
|  | Stage 3: (1) 1.2um disruptor with silver |  |  |  |  | 35"L x 6.5"d
*System includes 2" butterfly valves for system shut off & a DP gauge & switch on each valve
CTS-60-2F-3S
|  | Stage 1: (1) Maxx flow XL pleated pre-filters |  |  |  |  | 40"L x 6.5"d
|  | Stage 2: (1) High flow 8um disruptor with Silver pleated filters |  |  |  |  | 40"L x 6.5"d
|  | Stage 3: (1) 1.2um disruptor with silver |  |  |  |  | 40"L x 6.5"d
*System includes 2" butterfly valves for system shut off & a DP gauge & switch on each valve
| CTSV-2F-1S-40 | Individual vessel with DP ports & guage. Uses 40" filters (see below)
| CTS-45-3S-HM | Horizontal mounting stand for a 3 stage single element system
353834 | CTS-45-3F-1S

## Accessories
ACCESSORIES/REPLACEMENT PARTS
Macola # | Description |  | MSP
ORINGS
150550 | ORING 3-BAG EPR (CB60 & DWS3) |  | 88.88
152090 | ORING COVER (SRVB-B62) EPDM |  | 98.88
152225 | ORING COVER (SRVC-B19 & RWCV Carbon Tank) VITON |  | 129.88
152302 | ORING COVER (SRVB-B122) EPDM |  | 349.88
152150 | ORING COVER DWS 10 EPDM
152084 | ORING COVER SRVB-B2 EPDM (SRVB-B2)
150705 | ORING 30.5X.275 BUNA MEAN DIA
VALVES
152169 | VALVE 1" BALL VALVE 316 THD (VV-CB60 & DWS3-1") |  | 128.88
152397 | VALVE PSV 3/4 150PSI ASME (PSV-3/4-300) |  | 1398.99
152349 | VALVE PSV 3/4 300PSI ASME (PSV-3/4-300) |  | 1398.99
152170 | VALVE 1/2" BALL VALVE 316 THD |  | 98.8
152204 | VALVE 1/4" BALL VALVE 316 THD (SRVB-B2) |  | 78.88
SWINGBOLTS
351019 | SWINGBOLT (CB60-300 & DWS3-300) |  | 348.88
152106 | SET SWINGBOLT M16 SS (SRVB-B62-3FV) |  | 148.88
152105 | SET SWINGBOLT M12 SS (RWCV Carbon Tank, SRVB-B2) |  | 98.88
152303 | SET SWINGBOLT M20 SS (SRVB-B122) |  | 168.88
353541 | SET 7/8" CS (BOLTING) EYENUT, SWINGBOLT, PIN
MISC
| CT-MP-2 | Manifold Pipe 2” with elbows to connect sequence of CTSV-2F1S-40 | 999.88
| CTS-45-3S-HM | Horizontal mounting stand for a 3 stage single element system | 5999
| Manifold Pipe 2" | (2) 2"RFF, with elbows & pipe | #REF!
DP Gauge Install, 0-10 or 1-20 PSID w/switch
DP Gauge Install, 0-10 or 1-20 PSID w/switch & valves
152366 | PLATE RWCV60 INNER 3/8" 304SS | Screen replacement
152134 | GAUGE DIFF 0-20 1/4 NPT SS | Gauge only
840072 | TC-UC-INSTALL KIT (HARDWARE ONLY, NO CAPSULE)

## Accessories2
PARTS & ACCESSORIES LISTED BY VESSEL
CB60 |  |  | MSP
| 150550 | ORING 3-BAG EPR | 88.88
| 152169 | VALVE 1" BALL VALVE 316 THD | 128.88
| 351019 | SWINGBOLT | 348.88
DWS
| 150550 | ORING 3-BAG EPR | 88.88
| 152150 | ORING COVER EPDM
| 152169 | VALVE 1" BALL VALVE 316 THD | 128.88
| 351019 | SWINGBOLT | 348.88
SRVB-B62
| 152090 | ORING COVER EPDM | 98.88
| 152106 | SET SWINGBOLT M16 SS | 148.88
SRVB-B122
| 152302 | ORING COVER EPDM | 349.88
| 152303 | SET SWINGBOLT M20 SS | 168.88
SRVC-B19
| 152225 | ORING COVER VITON | 129.88
RWCV-CARBON TANK
| 152225 | ORING COVER VITON | 129.88
| 152105 | SET SWINGBOLT M12SS | 98.88
| 152366 | PLATE RWCV60 INNER 3/8" 304 SS (SCREEN REPLACEMENT)
SRVB-B2
| 152084 | ORING COVER EPDM
| 152204 | VALVE 1/4" BALL VALVE 316 THD | 78.88
| 152105 | SET SWINGBOLT M12SS | 98.88
CTSV-2F
|  | CT-MP-2: MANIFOLD PIPE 2" W/ELBOWS | 999.88
CTS-45
|  | HORIZONTAL MOUNTING STAND FOR A 3 STAGE SINGLE ELEMENT | 5999
TC-UC
| 840072 | INSTALL KIT (HARDWARE ONLY, NO CAPSULE)

## Labels
TCWS PRODUCT LABELS
106742 | LABEL TRIP CLEAR BRACKET/BOX
106743 | LABEL TRIP CLEAR 5" CAPSULE
106744 | LABEL TRIP CLEAR 10" CAPSULE
106745 | LABEL TRIP CLEAR INLET/OUTLET
106811 | LABEL TRIP CLEAR HM15-STAGE1
106812 | LABEL TRIP CLEAR HM15-STAGE2
106813 | LABEL TRIP CLEAR HM15-STAGE3
106814 | LABEL TRIP CLEAR HM8-STAGE1
106815 | LABEL TRIP CLEAR HM8-STAGE2
106816 | LABEL TRIP CLEAR HM8-STAGE3
106817 | LABEL TRIP CLEAR ADV 3 STAGE
106818 | LABEL TRIP CLEAR HM6-STAGE1
106819 | LABEL TRIP CLEAR HM6-STAGE2
106858 | LABEL TRIP CLEAR TCPOUN-10 KIT
106859 | LABEL TC-POU-N-10 CAPSULE BOX
106860 | LABEL TC-POU-N-10 CAPSULE
106861 | LABEL TC-UC-10-KIT
106862 | LABEL TC-UC-10 CAPSULE BOX
106863 | LABEL TC-UC-10 CAPSULE
106864 | LABEL TC-UC-MOUNTING KIT
106865 | LABEL TC-UC-5 KIT
106866 | LABEL TC-UC-5-CAPSULE BOX
106867 | LABEL TC-UC-5-CAPSULE
107042 | LABEL TC-UC-N-10
107043 | LABEL TC-UC-N-10-KIT
152358 | LABEL TCWS NOZZEL LOADINGS CAUTION
152359 | LABEL TCWS DO NOT OVER TIGHTEN
152360 | LABEL TCWS SRVB-B2-2FV
152361 | LABEL TCWS SRVB-B2-2V-SO/BO
152363 | LABEL TCWS RWCV-60-3FB
152364 | LABEL TCWS RWCV-60-3FB-20
152365 | MANUAL TCWS
152368 | LABEL TCWS RWCV-60
152369 | LABEL TCWS SRVB-B122
152394 | LABEL TCWS SRVB-B42
152386 | LABEL TCWS SRVB-B62
107140 | LABEL TC-UC-N-10-BLUE (CAPSULE)
107143 | LABEL TC-UC-N-10-BLUE-KIT (CARTON)
107142 | LABEL TC-UC-N-10-BLUE-KIT (CAPSULE)
107144 | LABEL TC-TLN-10 (CAPSULE)
107137 | LABEL TC-UC-10-BLUE (CARTON)
107136 | LABEL TC-UC-10-BLUE (CAPSULE)
107139 | LABEL TC-UC-10-BLUE -KIT (CARTON)
107138 | LABEL TC-UC-10-BLUE-KIT (CAPSULE)
107141 | LABEL TC-UC-N-10-BLUE (CARTON)
107135 | LABEL TC-TL-10 (CARTON)
107044 | LABEL TC-TL-10 (CAPSULE)
107145 | LABEL TC-TLN-10 (CARTON)